## Slide 1: Semi-automated pipeline for neuroimaging PET/MR visualization and quantification
MICCAI Educational Challenge 2018
By Fabio Raman, University of Alabama at Birmingham
Mentors: Jon McConathy, MD, PhD and Erik Roberson, MD, PhD

## Slide 2: Quantification of PET/MR biomarkers requires several steps
Brain segmentation of volumetric MR image
Image registration of MR to PET
Extraction of volumes of interest (VOI)
Quantification of biomarkers

## Slide 3: Quantification of PET/MR biomarkers requires several steps
Brain segmentation of volumetric MR image
Image registration of MR to PET
Extraction of volumes of interest (VOI)
Quantification of biomarkers

## Slide 4: Quantification of PET/MR biomarkers requires several steps
Brain segmentation of volumetric MR image
Image registration of MR to PET
Extraction of volumes of interest (VOI)
Quantification of biomarkers

## Slide 5: Quantification of PET/MR biomarkers requires several steps
Brain segmentation of volumetric MR image
Image registration of MR to PET
Extraction of volumes of interest (VOI)
Quantification of biomarkers

## Slide 6: Why is it important to combine visualization with quantification?
Current FDA guidelines still use visual criteria to assess status of patients with various imaging biomarkers
Example: Alzheimer’s disease assessment using neuroimaging according to NIA-AA guidelines for Aβ plaques (A), tau tangles (T), and neurodegeneration (N)
:
A-
T+
T-
N+
N –
A+

## Slide 7: Problems with current processing pipelines
None have been implemented into routine clinical workflow
  No FDA approval
  Computational intensive
  Time consuming
  No visualization
Issues with fully automated registration methods
  Lack of visual control check to ensure accurate contour delineation across modalities
Lack of versatility
  Not adaptable to different segmentation algorithms
  Important for multicenter trials and longitudinal studies

## Slide 8: Methods – Multimodal Brain Processing Pipeline (MMBP)

## Slide 9: Methods – Multimodal Brain Processing Pipeline (MMBP)

## Slide 10: Methods – Multimodal Brain Processing Pipeline (MMBP)

## Slide 11: Methods – Multimodal Brain Processing Pipeline (MMBP)

## Slide 12: Methods – Multimodal Brain Processing Pipeline (MMBP)

## Slide 13: Methods – Multimodal Brain Processing Pipeline (MMBP)

## Slide 14: Benefits of using supercomputing cluster
UAB Super Computer (High Performance Computing Cluster) Cheaha
3120 CPU cores that provide over 120 TFLOP/s of combined computational performance.
20 TB of memory

## Slide 15: Parallel and distributed implementation
Every patient (1 volumetric MRI) was sent to 1 node in Cheaha Cluster
It took about 8 hours to segment 1 patient
~200 patients were segmented in less than 12h.

## Slide 16: Benefits of using MIM
Easy, efficient to design workflows encompassing a wide of array of post-processing tools to automate analysis

## Slide 17: Manual editing of contours and registration, if necessary, to ensure accuracy

## Slide 18: Manual editing of contours and registration, if necessary, to ensure accuracy
Contour editing tools

## Slide 19: Manual editing of contours and registration, if necessary, to ensure accuracy
Contour editing tools
Outlined brain regions

## Slide 20: Manual editing of contours and registration, if necessary, to ensure accuracy
Contour editing tools
Outlined brain regions
Registration tools

## Slide 21: No limits to customized analysis with ability to imbed Matlab extensions into workflow
Extension has adjusted new CT image so that all values less than bone are replaced by air

## Slide 22: Conclusions
Semi-automated pipelines PET/MR allows for streamlined neuroimaging analysis for both clinical and research use
Key features
  Efficient and easy for physicians to use
  Automatically segments VOIs with high accuracy and reproducibility
  FDA-approved with visualization
  Versatile
    Implemented with wide array of segmentation algorithms, biomarkers, and diseases